## Slide 1
Agenda
Background
System Design
Experience
Future work
Henrik Stomberg– Sweden – Session No 4 – Paper No 0325
Experience from construction of a Smart Grid RD2 Platform

## Slide 2: Background
NOAA National Oceanic and Atmospheric Administration

## Slide 3: Background

## Slide 4: Background: Power consumption pattern in private residence

## Slide 5: Background: Global irradiance, Ludvika, Sweden

## Slide 6
Agenda
Background
System Design
Experience
Future work
Henrik Stomberg– Sweden – Session No 4 – Paper No 0325
Experience from construction of a Smart Grid RD2 Platform

## Slide 7
VINNOVA is a Swedish government agency under the Ministry of Enterprise, Energy and Communications and the national contact agency for the EU Framework Programme for R&D

## Slide 8: Project: Smart Grid Energy Storage
Solutions for optimized control in real time
of distributed renewable power production,
storage and demand response

## Slide 9: Energy storage & Control

## Slide 10: System Design, STRI Smart Grid RD2
Converter
AC system
Meter
Fuel cell
Truck charger
eCar charg.
Wind
2 kW 3 kW 2 kW 1kW
PQuality
STRI 380 V
H2electro- lizer
Battery Capacitor
48 V DC
230 VAC
H2fill.
Solar

## Slide 11: “Cell Agent” LAB View Supervisory CS

## Slide 12: CCR – Container Control Room

## Slide 13: Control Modules and Control System
- Combined switching and measuring control modules (CM) (left)
- Computer for the control system (right)

## Slide 14: Single line diagram RD2

## Slide 15: Homer optimization model
Monthly consumption
Monthly production
Hourly production
Hourly consumption

## Slide 16: System Design for the RD2
Grid-connected to a 10 kV/380 V multi-vender IEC 61850 station
Standardized communication and control of the RD2
AC and DC bus system backbone
Remote operated AC/DC switch and measurement sensors
Ethernet communication

## Slide 17
STRI Active Substation
11 cubicles 10 kV switchgear
Integrated protection and control
IEC 61850 from 4 suppliers
Max 4 cells each for the IEDs (Intelligent Electronic Device)
Connected to the control system for local production and storage of energy
Analog values from the supply station via IEC 61850-9-2

## Slide 18
Agenda
Background
System Design
Experience
Future work
Henrik Stomberg– Sweden – Session No 4 – Paper No 0325
Experience from construction of a Smart Grid RD2 Platform

## Slide 19: Power generation during 24 hours

## Slide 20: Power generation during 24 hours
Serie 2 = PV power (W), Serie 1= Power delivery (W)

## Slide 21: Our experience are to:
Specify the application and load
Decide DC and/or AC Bus
Communication standard decition
Use Standarized equipment
Optimize energy storage system; (battery, H2, Fly-Wheel, biogas etc.)
Energy conversion optimization
Measuring equipment and software

## Slide 22
Agenda
Background
System Design
Experience
Future work
Henrik Stomberg– Sweden – Session No 4 – Paper No 0325
Experience from construction of a Smart Grid RD2 Platform

## Slide 23: Future work
Power Quality measurements
Energy storage test bench
Microgrid and virtual power plant
Interuniversity cooperation
Optimized solutions for DER and energy storage
Applications for residentials, office, shopping centers, regions etc
Verification of communication
Develpment of software forMicro Grid CA Controller
Development of algoritmes for the operation