## Slide 1: Integration of electric vehicles to the distribution grid
Nina Wahl Gunderson and
Kjell Sand
SINTEF Energy Research
Norway

## Slide 2: Introduction
Strong Norwegian incentives promoting electric vehicles (EVs)
EV load may cause power quality (PQ) problems
Study on car pool in downtown Trondheim
Energy, power and PQ measurements
Load characteristics
Nina Wahl Gunderson – Norway – Session 5 – 0785

## Slide 3: Measurement instruments
Power Detective energy meter
Elspec G4500 Blackbox advanced PQ recorder
Nina Wahl Gunderson – Norway – Session 5 – 0785

## Slide 4: Charging pattern single vehicle
Nina Wahl Gunderson – Norway – Session 5 – 0785

## Slide 5: Total load 11 charging stations
Coincidence factor =
Nina Wahl Gunderson – Norway – Session 5 – 0785

## Slide 6: Utilization time single vehicle
Nina Wahl Gunderson – Norway – Session 5 – 0785

## Slide 7: PQ measurements: voltage THD
Nina Wahl Gunderson – Norway – Session 5 – 0785

## Slide 8: PQ measurements: Voltage unbalance
Nina Wahl Gunderson – Norway – Session 5 – 0785

## Slide 9: Conclusions
Afternoon power peak
No values close to PQ code limits
Low voltage THD values
Some voltage unbalance
EVs may cause problems in weak grids
Fast chargers require further studies
Nina Wahl Gunderson – Norway – Session 5 – 0785